Equipment and Communication Devices

First Aid Sector

OFFICIAL

# Reference

Non-Emergency Patient Transport and First Aid Services (First Aid Services) Regulations 2021, Part 9

# Introduction

First aid Service licence holders are required to provide equipment appropriate to their service level, this includes the provision of communication devices to staff members.

# Equipment

The first aid service must ensure there is external signposting that allows the first aid service station/s to be easily identified and located. The first aid service must also have the necessary equipment and supplies needed to provide first aid within their clinical scope. Table 1 outlines the minimum required equipment for each first aid service level.

Table 1: Minimum Equipment for each first aid service level

| Equipment | Basic | Intermediate | Advanced |
| --- | --- | --- | --- |
| Automated External Defibrillator |  |  |  |
| Sanitiser and hand washing facilities |  |  |  |
| Drinking water for patients and staff |  |  |  |
| Waste management for Contaminated waste Safe disposal of sharps |  |  |  |
| Injectable Adrenaline device or Adrenaline ampoules* *If staff member has the qualifications and is credentialled to administer |  |  |  |
| Salbutamol MDI spacer |  |  |  |
| Patient transfer equipment |  |  |  |

## Equipment Maintenance and Record Keeping

The First Aid Service is required to ensure all equipment used in the course of providing first aid to patients is kept in good working condition, in accordance with the manufacturer’s specifications.

An annual maintenance schedule is required to be developed for all equipment, including a record of the maintenance and any repairs. This record is required to be maintained for the lifespan of the equipment.

# Communication Devices

The first aid service must ensure that staff members always have access to communication devices. These devices should allow for easy communication with-

The head office of the first aid service

The event headquarters or person with overall command of the event

Another health care provider, or the Ambulance Service

Other emergency services

- For further information, email NEPT, First Aid and Investigations

To receive this document in another format, email NEPT, First Aid and Investigations < NEPTFirstAidRegulation@health.vic.gov.au>. Authorised and published by the Victorian Government, 1 Treasury Place, Melbourne. © State of Victoria, Australia, Department of Health, December 2021. Available at First Aid < https://www2.health.vic.gov.au/hospitals-and-health-services/patient-care>